## Mode
Mode ( 0 : AC / DC Hybrid, 1 : AC only, 2 : DC only)
0

## AC Bus Data
Bus | Gs[MW] | Bs[Mvar] | Z_p | I_p | P_p | Z_q | I_q | P_q | k_pw | k_qw | V0 [pu] | Va [°] | V_base [V] | V_min [pu] | V_max [pu] | Area
1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.05 | 0 | 22900 | 0.907 | 1.039 | 1
2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
3 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
4 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
6 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
7 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
8 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
9 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
10 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
11 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
12 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
13 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1
14 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 22900 | 0.907 | 1.039 | 1

## AC Line Data
Line # | From | To | R [Ω] | X [Ω] | B [S] | Tap ratio | angle(°) | rateA [MVA] | rateB [MVA] | rateC [MVA] | AC Transformer status (0/1) | connection status (0/1)
1 | 1 | 2 | 1.4382 | 1.0321 | 8.945e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
2 | 2 | 3 | 2.2542 | 1.6177 | 1.402e-05 | 0 | 0 | 10 | 10 | 10 | 0 | 1
3 | 3 | 4 | 0.3111 | 0.22326 | 1.9349e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
4 | 4 | 5 | 0.2856 | 0.20496 | 1.7763e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
5 | 5 | 6 | 0.7854 | 0.56364 | 4.8849e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
6 | 6 | 7 | 0.1224 | 0.08784 | 7.6128e-07 | 0 | 0 | 10 | 10 | 10 | 0 | 1
7 | 7 | 8 | 0.8517 | 0.61122 | 5.2972e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
8 | 8 | 9 | 0.1632 | 0.11712 | 1.015e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
9 | 9 | 10 | 0.3927 | 0.28182 | 2.4424e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
10 | 10 | 11 | 0.1683 | 0.12078 | 1.0468e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
11 | 4 | 11 | 0.2499 | 0.17934 | 1.5543e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
12 | 3 | 8 | 0.663 | 0.4758 | 4.1236e-06 | 0 | 0 | 10 | 10 | 10 | 0 | 1
13 | 12 | 13 | 2.4499 | 3.5012 | 0.00023224 | 0 | 0 | 10 | 10 | 10 | 0 | 1
14 | 13 | 14 | 1.498 | 2.1408 | 0.000142 | 0 | 0 | 10 | 10 | 10 | 0 | 1
15 | 8 | 14 | 1.002 | 1.432 | 9.4986e-05 | 0 | 0 | 10 | 10 | 10 | 0 | 1

## AC 3w Transformer Data
3w trans # | Bus 1 | Bus 2 | Bus 3 | status (0/1) | Vn1 [kV] | Vn2 [kV] | Vn3 [kV] | Sn1 [MVA] | Sn2 [MVA] | Sn3 [MVA] | r12 | r23 | r31 | x12 | x23 | x31 | vk12 [%] | vk23 [%] | vk31 [%] | vkr12 [%] | vkr23 [%] | vkr31 [%] | tap side | tap ratio | shift_deg MV [degree] | shift_deg LV [degree] | pfe [kW] | i0 [%] | winding map

## AC Gen Data
Bus_No | AC Gen Type (No Gen : 0/AC Trans : 1/ Syn Gen : 2/IBR : 3) | AC Gen Mode (PQ Mode : 0/Droop Mode : 1/ PV Mode : 2/Slack : 3) Same Bus = Same Gen Mode | Droop (P-f) [%] | Droop (Q-Vac) [%] | P_gen [W] | Q_gen [Var] | Vg [pu] (If Gen PV mode or Droop mode) | Status (미반영) | Local Sbase [MVA] | ¦V¦ deadband (±) [pu]
1 | 1 | 3 | - | - | 0 | 0 | 1.05 | 1 | 25 | 0.01

## AC P Consume Data
Bus / 시각 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 142203.641 | 130281.255 | 128909.355 | 124208.934 | 139027.783 | 148826.123 | 165507.372 | 185258.737 | 192919.137 | 204118.556 | 199765.513 | 201407.58 | 208429.382 | 197647.069 | 197245.916 | 203472.807 | 210021.768 | 217398.601 | 226583.641 | 218625.636 | 201800.771 | 190250.875 | 164115.765 | 149537.037
4 | 12838.22 | 11680.727 | 11278.797 | 11346.405 | 11752.313 | 13210.491 | 14482.126 | 16454.237 | 17482.619 | 17831.496 | 18977.798 | 17980.57 | 17331.336 | 16878.484 | 17786.905 | 17532.904 | 17776.74 | 19202.006 | 19304.624 | 20188.714 | 18698.774 | 16797.736 | 14702.268 | 13574.579
5 | 385202.401 | 362413.167 | 357501.279 | 382277.741 | 393444.35 | 417678.007 | 442979.861 | 527646.489 | 556902.724 | 579297.674 | 576664.993 | 572555.633 | 550161.094 | 576720.277 | 545676.098 | 537899.025 | 568353.246 | 609591.2 | 609636.685 | 645942.033 | 607509.527 | 547252.241 | 469291.396 | 427473.706
6 | 18756.422 | 18269.724 | 16964.466 | 17253.505 | 17174.906 | 19488.282 | 21232.5 | 23146.858 | 24776.78 | 27236.64 | 26690.837 | 29086.085 | 27521.297 | 25995.736 | 26337.289 | 25140.202 | 28865.623 | 28749.034 | 30848.206 | 28460.708 | 28162.376 | 25476.303 | 23485.11 | 20244.173
7 | 47304.26 | 44830.418 | 44374.787 | 44461.723 | 45619.604 | 47346.216 | 56877.216 | 63624.504 | 63423.199 | 69222.039 | 67625.156 | 72370.402 | 68092.059 | 68393.233 | 68065.763 | 69128.535 | 67619.281 | 76495.191 | 74436.137 | 72231.594 | 72304.444 | 64185.672 | 59267.169 | 52834.943
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 342305.557 | 355648.554 | 326775.741 | 322101.851 | 347671.253 | 386906.323 | 400559.716 | 450293.857 | 507112.848 | 540738.937 | 527889.124 | 514586.316 | 496734.506 | 491250.333 | 480784.446 | 513869.986 | 507888.429 | 551148.653 | 584895.807 | 572620.025 | 523133.15 | 502519.273 | 439581.738 | 393599.344
10 | 40604.539 | 39264.916 | 41835.381 | 39036.048 | 39987.871 | 44149.541 | 49757.383 | 56878.591 | 57231.138 | 63799.828 | 59587.521 | 63589.072 | 62709.038 | 57481.69 | 57032.249 | 59355.98 | 65476.747 | 65906.966 | 70944.558 | 69368.958 | 63711.503 | 59445.933 | 48540.968 | 43779.26
11 | 6404.246 | 6178.09 | 5742.258 | 5817.846 | 6063.609 | 6739.03 | 7274.237 | 7930.057 | 8491.798 | 8933.294 | 9339.777 | 9641.766 | 9058.046 | 8578.099 | 8470.896 | 9016.493 | 9491.243 | 9221.067 | 9566.559 | 9993.489 | 9067.403 | 8775.965 | 7357.751 | 6461.394
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 21130.071 | 19587.411 | 20728.918 | 18836.469 | 21266.677 | 21214.04 | 25321.071 | 28295.217 | 30642.265 | 31524.199 | 32154.206 | 32070.532 | 31803.215 | 28826.58 | 29686.689 | 29962.555 | 32398.486 | 32518.577 | 33609.304 | 34129.77 | 31213.617 | 27858.931 | 25443.587 | 22590.674
14 | 200033.51 | 196264.81 | 192971.837 | 188953.257 | 196502.541 | 219477.305 | 233831.848 | 277103.712 | 296959.666 | 297780.463 | 299745.36 | 309387.437 | 312179.85 | 296171.278 | 297183.813 | 292674.574 | 309033.722 | 311498.264 | 339286.708 | 318418.365 | 317680.104 | 291939.162 | 239478.157 | 224645.431

## AC Q Consume Data
Bus / 시각 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 88129.901 | 80741.07 | 79890.843 | 76977.784 | 86161.681 | 92234.147 | 102572.257 | 114813.053 | 119560.543 | 126501.319 | 123803.546 | 124821.207 | 129172.929 | 122490.652 | 122242.039 | 126101.12 | 130159.801 | 134731.552 | 140423.929 | 135492 | 125064.885 | 117906.903 | 101709.816 | 92674.732
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 29316.548 | 27783.398 | 27501.023 | 27554.901 | 28272.491 | 29342.549 | 35249.333 | 39430.926 | 39306.168 | 42899.967 | 41910.308 | 44851.147 | 42199.668 | 42386.319 | 42183.371 | 42842.018 | 41906.667 | 47407.462 | 46131.375 | 44765.122 | 44810.27 | 39778.707 | 36730.492 | 32744.157
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 212141.922 | 220411.169 | 202517.407 | 199620.791 | 215467.282 | 239782.994 | 248244.606 | 279067.057 | 314280.304 | 335119.881 | 327156.283 | 318911.943 | 307848.386 | 304449.6 | 297963.426 | 318468.002 | 314760.966 | 341571.243 | 362485.851 | 354878.004 | 324208.795 | 311433.462 | 272428.283 | 243930.955
10 | 25164.436 | 24334.212 | 25927.244 | 24192.373 | 24782.259 | 27361.432 | 30836.86 | 35250.189 | 35468.678 | 39539.587 | 36929.033 | 39408.972 | 38863.576 | 35623.956 | 35345.418 | 36785.537 | 40578.848 | 40845.474 | 43967.493 | 42991.024 | 39484.848 | 36841.285 | 30082.993 | 27131.952
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 13095.244 | 12139.189 | 12846.631 | 11673.797 | 13179.905 | 13147.283 | 15692.593 | 17535.803 | 18990.373 | 19536.947 | 19927.39 | 19875.534 | 19709.865 | 17865.113 | 18398.16 | 18569.127 | 20078.781 | 20153.207 | 20829.179 | 21151.735 | 19344.465 | 17265.417 | 15768.521 | 14000.444
14 | 123969.635 | 121634.005 | 119593.203 | 117102.711 | 121781.337 | 136019.817 | 144915.964 | 171733.457 | 184039.071 | 184547.756 | 185765.49 | 191741.112 | 193471.694 | 183550.473 | 184177.985 | 181383.41 | 191521.899 | 193049.286 | 210271.016 | 197337.979 | 196880.446 | 180927.642 | 148415.232 | 139222.734

## DC Bus Data
Bus | Nominal Current | V0 [pu] | V_base [V] | VM min [pu] | VM max [pu]
15 | 0 | 1 | 40000 | 0.95 | 1.05
16 | 0 | 1 | 40000 | 0.95 | 1.05
17 | 0 | 1 | 40000 | 0.95 | 1.05
18 | 0 | 1 | 40000 | 0.95 | 1.05
19 | 0 | 1 | 40000 | 0.95 | 1.05
20 | 0 | 1 | 40000 | 0.95 | 1.05
21 | 0 | 1 | 40000 | 0.95 | 1.05
22 | 0 | 1 | 1500 | 0.95 | 1.05
23 | 0 | 1 | 1500 | 0.95 | 1.05
24 | 0 | 1 | 1500 | 0.95 | 1.05
25 | 0 | 1 | 1500 | 0.95 | 1.05

## DC Line Data
Line # | From | To | R [Ω] | rateA [MVA] | rateB [MVA] | rateC [MVA] | connection status (0/1)
1 | 15 | 16 | 2.004 | 10 | 10 | 10 | 1
2 | 16 | 17 | 2.505 | 10 | 10 | 10 | 1
3 | 17 | 19 | 3.507 | 10 | 10 | 10 | 1
4 | 19 | 20 | 1.503 | 10 | 10 | 10 | 1
5 | 20 | 21 | 2.004 | 10 | 10 | 10 | 1
6 | 18 | 21 | 0.501 | 10 | 10 | 10 | 1
7 | 22 | 23 | 0.248 | 10 | 10 | 10 | 1
8 | 23 | 24 | 0.1984 | 10 | 10 | 10 | 1
9 | 24 | 25 | 0.124 | 10 | 10 | 10 | 1

## DC Gen Data
Bus_No | DC Gen Type (No Gen : 0/IBR : 1/ ESS : 2/Fuel Cell :3 / Generator : 4) | DC Gen Mode (P: Mode : 0/Droop Mode : 1/ CV Mode : 2) Same Bus = Same Gen Mode | Droop (P-Vdc) [%] | P_gen [W] | Vg [pu] (If Gen PV mode or Droop mode) | Status (미반영) | Local Sbase [MVA] | ¦V¦ deadband (±) [pu]
24 | 1 | 0 | - | 400000 | 1 | 1 | 25 | 0.01

## DC P Consume Data
Bus / 시각 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 646736.647 | 577184.015 | 567409.11 | 556087.123 | 609471.797 | 644709.54 | 739751.142 | 813698.513 | 845692.847 | 935852.989 | 944152.958 | 908659.75 | 897641.474 | 863670.718 | 840212.213 | 849004.937 | 960123.727 | 954038.788 | 988331.982 | 1012738.885 | 944981.348 | 887071.899 | 771022.612 | 668617.761
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 2529133.954 | 2481115.252 | 2251475.707 | 2250813.45 | 2309981.683 | 2601178.057 | 2950614.181 | 3241603.79 | 3560789.098 | 3475876.677 | 3766340.562 | 3605811.435 | 3556556.185 | 3593886.453 | 3647111.265 | 3559263.349 | 3516056.116 | 3884662.644 | 3816940.221 | 4112121.702 | 3838801.435 | 3288863.468 | 2877516.302 | 2595186.905
20 | 1299523.37 | 1195027.277 | 1213521.552 | 1175823.368 | 1208689.578 | 1253866.933 | 1504227.521 | 1568214.821 | 1733418.961 | 1835959.67 | 1867458.901 | 1941950.56 | 1756015.896 | 1761470.082 | 1723301.984 | 1755453.696 | 1769936.025 | 1849746.165 | 1955615.109 | 1941331.512 | 1866445.804 | 1718867.883 | 1520194.368 | 1328182.66
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 254748.201 | 235463.076 | 240428.895 | 236765.428 | 237308.201 | 263663.104 | 273908.956 | 310689.845 | 344863.038 | 347895.047 | 355705.373 | 384510.52 | 381804.441 | 353970.124 | 359799.627 | 369259.323 | 354810.729 | 382012.632 | 395702.909 | 379369.952 | 385600.414 | 337748.487 | 299079.808 | 258638.036
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 258156.896 | 242090.975 | 244266.473 | 228301.706 | 239971.607 | 260816.687 | 276623.416 | 316753.68 | 358356.416 | 364709.961 | 356132.242 | 366005.43 | 352774.35 | 335273.774 | 362875.624 | 350176.898 | 360917.291 | 387781.524 | 380292.578 | 387209.675 | 383634.058 | 344548.172 | 314454.178 | 271225.587

## ACDC IC Data
From(AC) | To(DC) | AC Control Mode ( 0: CQ / 1 : Droop / 2 : CV ) | DC Control Mode ( 0: CP / 1 : Droop / 2 : CV ) | Droop Coefficient (f-P) [%] | Droop Coefficient (P-Vdc) [%] | Droop Coefficient (Q-Vac) [%] | P Operating Point [W] | Q Operating Point [Var] | rateA [MVA] | Rtf [pu] | Xtf [pu] | Bf [pu] | Rc [pu] | Xc [pu] | Status ( 0 : off / 1 : on ) | LossA | LossB | LossC rec | LossC inv
2 | 15 | 0 | 2 | - | - | - | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
6 | 17 | 0 | 2 | - | - | - | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
12 | 21 | 0 | 2 | - | - | - | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0

## MVDC LVDC Converter Data
From (MVDC) | To (LVDC) | Efficiency Curve (C0) | Efficiency Curve (C1) | Efficiency Curve (C2) | Droop Coefficient (P) MVDC VM_norm | Droop Coefficient (P) LVDC VM_norm | Operating Point (P) | rateA [MVA] | Control Mode (Off : 0 / CV(LVDC) : 1 / CP:2)
18 | 22 | 0 | 0 | 0 | 0 | 1000000000 | 0 | 10 | 1

## Sbase,frequency
S_base [MVA] | freq_base [Hz] | f_0 [pu] | freq_min [pu] | freq_max[pu] | Frequency Control Mode ( 0 : Variable / 1 : Constant ) | freq_deadband(±) [Hz]
25 | 60 | 1 | 0.95 | 1.05 | 0 | 0.036