## Mode
Mode ( 0 : AC / DC Hybrid, 1 : AC only, 2 : DC only)
2

## AC Bus Data
Bus | AC Bus Type (PQ Mode : 0/Droop Mode : 1/IC : 2/ PV Mode : 3/Slack : 4) | AC Gen Type (No Gen : 0/AC Trans : 1/ Syn Gen : 2/IBR : 3) | P_cons [W] | Q_cons [Var] | Droop (P) [%] | Droop (Q) [%] | P_gen [W] | Q_gen [Var] | Z_p | I_p | P_p | Z_q | I_q | P_q | k_pw | k_qw | V0 [pu] | Va [°] | V_base [V] | V_min [pu] | V_max [pu]

## AC Line Data
Line # | From | To | R [Ω] | X [Ω] | B [S] | Tap ratio | angle(°) | rateA [MVA] | rateB [MVA] | rateC [MVA] | connection status (0/1)

## AC P Consume Data
Bus / 시각 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24

## AC Q Consume Data
Bus / 시각 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24

## DC Bus Data
Bus | Nominal Current | V0 [pu] | V_base [V] | V_min [pu] | V_max [pu]
1 | 0 | 1 | 1000 | 0.9 | 1.1
2 | 0 | 1 | 1000 | 0.9 | 1.1
3 | 0 | 1 | 1000 | 0.9 | 1.1
4 | 0 | 1 | 1000 | 0.9 | 1.1
5 | 0 | 1 | 1000 | 0.9 | 1.1
6 | 0 | 1 | 1000 | 0.9 | 1.1
7 | 0 | 1 | 1000 | 0.9 | 1.1
8 | 0 | 1 | 1000 | 0.9 | 1.1
9 | 0 | 1 | 1000 | 0.9 | 1.1
10 | 0 | 1 | 1000 | 0.9 | 1.1
11 | 0 | 1 | 1000 | 0.9 | 1.1
12 | 0 | 1 | 1000 | 0.9 | 1.1
13 | 0 | 1 | 1000 | 0.9 | 1.1
14 | 0 | 1 | 1000 | 0.9 | 1.1
15 | 0 | 1 | 1000 | 0.9 | 1.1
16 | 0 | 1 | 1000 | 0.9 | 1.1
17 | 0 | 1 | 1000 | 0.9 | 1.1
18 | 0 | 1 | 1000 | 0.9 | 1.1
19 | 0 | 1 | 1000 | 0.9 | 1.1
20 | 0 | 1 | 1000 | 0.9 | 1.1
21 | 0 | 1 | 1000 | 0.9 | 1.1

## DC Gen Data
Bus_No | DC Gen Type (No Gen : 0/IBR : 1/ ESS : 2/Fuel Cell :3 / Generator : 4) | DC Gen Mode (P: Mode : 0/Droop Mode : 1/ CV Mode : 2) Same Bus = Same Gen Mode | Droop (P) [%] | P_gen [W] | Vg [pu] (If Gen PV mode or Droop mode) | Status (미반영) | Local Pbase [MW] | ¦V¦ deadband (±) [pu]
1 | 1 | 2 | - | 0 | 1 | 1 | 0.1 | 0.001
21 | 1 | 2 | - | 0 | 1.05 | 1 | 0.1 | 0.001

## DC Line Data
Line # | From | To | R [Ω] | rateA [MVA] | rateB [MVA] | rateC [MVA] | connection status (0/1)
1 | 1 | 2 | 0.053 | 1 | 100 | 100 | 1
2 | 1 | 3 | 0.054 | 1 | 100 | 100 | 1
3 | 3 | 4 | 0.054 | 1 | 100 | 100 | 1
4 | 4 | 5 | 0.063 | 1 | 100 | 100 | 1
5 | 4 | 6 | 0.051 | 1 | 100 | 100 | 1
6 | 3 | 7 | 0.037 | 1 | 100 | 100 | 1
7 | 7 | 8 | 0.079 | 1 | 100 | 100 | 1
8 | 7 | 9 | 0.072 | 1 | 100 | 100 | 1
9 | 3 | 10 | 0.053 | 1 | 100 | 100 | 1
10 | 10 | 11 | 0.038 | 1 | 100 | 100 | 1
11 | 11 | 12 | 0.079 | 1 | 100 | 100 | 1
12 | 11 | 13 | 0.078 | 1 | 100 | 100 | 1
13 | 10 | 14 | 0.083 | 1 | 100 | 100 | 1
14 | 14 | 15 | 0.065 | 1 | 100 | 100 | 1
15 | 15 | 16 | 0.064 | 1 | 100 | 100 | 1
16 | 16 | 17 | 0.074 | 1 | 100 | 100 | 1
17 | 16 | 18 | 0.081 | 1 | 100 | 100 | 1
18 | 14 | 19 | 0.078 | 1 | 100 | 100 | 1
19 | 19 | 20 | 0.084 | 1 | 100 | 100 | 1
20 | 19 | 21 | 0.082 | 1 | 100 | 100 | 1

## DC P Consume Data
Bus / 시각 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000 | 70000
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000
5 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000
6 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000 | 36000
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000
9 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000 | 80000
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000
12 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000 | 68000
13 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 22000
16 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000
17 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000 | 43000
18 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000 | 34000
19 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000
20 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ACDC IC Data
From(AC) | To(DC) | Efficiency Curve (C0) | Efficiency Curve (C1) | Efficiency Curve (C2) | Droop Coefficient (P) freq_norm | Droop Coefficient (P) DC_VM_norm | P Operating Point [W] | Q Operating Point [Var] | rateA [MVA] | Control Mode (Off : 0 / CV(DC) : 1 / Droop : 2 /CP : 3)

## MVDC LVDC Converter Data
From (MVDC) | To (LVDC) | Efficiency Curve (C0) | Efficiency Curve (C1) | Efficiency Curve (C2) | Droop Coefficient (P) MVDC VM_norm | Droop Coefficient (P) LVDC VM_norm | Operating Point (P) | rateA [MVA] | Control Mode (Off : 0 / CV(LVDC) : 1 / 추후 : 2)

## Sbase,frequency
S_base [MVA] | freq_base [Hz] | f_0 [pu] | freq_min [pu] | freq_max[pu] | Frequency Control Mode ( 0 : Variable / 1 : Constant ) | freq_deadband(±) [Hz]
0.1 | 60 | 1 | 0.95 | 1.05 | 0 | 0.036