## Mode
Mode ( 0 : AC / DC Hybrid, 1 : AC only, 2 : DC only)
1

## AC Bus Data
Bus | Gs[MW] | Bs[Mvar] | Z_p | I_p | P_p | Z_q | I_q | P_q | k_pw | k_qw | V0 [pu] | Va [°] | V_base [V] | V_min [pu] | V_max [pu] | Area(반영X)
1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.03 | 0 | 380000 | 0.9 | 1.1 | 1
2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0326 | -1.7371 | 110000 | 0.9 | 1.1 | 1
3 | 9.1749 | 0.96 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0221 | -3.9652 | 110000 | 0.9 | 1.1 | 1
4 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0144 | -4.628 | 110000 | 0.9 | 1.1 | 1
5 | 2.8146 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0255 | -3.5235 | 110000 | 0.9 | 1.1 | 1
6 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.03 | -3.2692 | 110000 | 0.9 | 1.1 | 1
7 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0011 | -36.3895 | 20000 | 0.9 | 1.1 | 1
8 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0014 | -36.2503 | 10000 | 0.9 | 1.1 | 1
9 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.99695 | -36.3183 | 10000 | 0.9 | 1.1 | 1
10 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.99365 | -36.3585 | 10000 | 0.9 | 1.1 | 1
11 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.9914 | -36.3647 | 10000 | 0.9 | 1.1 | 1
12 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.99021 | -36.3367 | 10000 | 0.9 | 1.1 | 1
13 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0123 | -35.7937 | 10000 | 0.9 | 1.1 | 1
14 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0084 | -35.945 | 10000 | 0.9 | 1.1 | 1
15 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0044 | -36.1138 | 10000 | 0.9 | 1.1 | 1
16 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.94767 | 173.1192 | 400 | 0.9 | 1.1 | 1
17 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.9359 | 174.1086 | 400 | 0.9 | 1.1 | 1
18 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.92612 | 174.9085 | 400 | 0.9 | 1.1 | 1
19 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.919 | 175.5228 | 400 | 0.9 | 1.1 | 1
20 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.91387 | 175.9287 | 400 | 0.9 | 1.1 | 1
21 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.91131 | 176.1333 | 400 | 0.9 | 1.1 | 1
22 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.9236 | 174.9171 | 400 | 0.9 | 1.1 | 1
23 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.90411 | 176.4954 | 400 | 0.9 | 1.1 | 1
24 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.86137 | -177.4727 | 400 | 0.9 | 1.1 | 1
25 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.84229 | -174.2397 | 400 | 0.9 | 1.1 | 1
26 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.86137 | -177.4727 | 400 | 0.9 | 1.1 | 1
27 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0.84229 | -174.2397 | 400 | 0.9 | 1.1 | 1
28 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.0262 | -3.5235 | 110000 | 0.9 | 1.1 | 1
29 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1.024 | -3.9652 | 110000 | 0.9 | 1.1 | 1

## AC Line Data
Line # | From | To | R [Ω] | X [Ω] | B [S] | Tap ratio | angle(°) | rateA [MVA] | rateB [MVA] | rateC [MVA] | AC Transformer status (0/1) | connection status (0/1)
1 | 2 | 3 | 4.713 | 12 | 8.2938e-05 | 0 | 0 | 101.931 | 101.931 | 101.931 | 0 | 1
2 | 3 | 4 | 3.142 | 8 | 5.5292e-05 | 0 | 0 | 101.931 | 101.931 | 101.931 | 0 | 1
3 | 4 | 6 | 4.713 | 12 | 8.2938e-05 | 0 | 0 | 101.931 | 101.931 | 101.931 | 0 | 1
4 | 3 | 6 | 2.3565 | 6 | 4.1469e-05 | 0 | 0 | 101.931 | 101.931 | 101.931 | 0 | 1
5 | 5 | 6 | 3.9275 | 10 | 6.9115e-05 | 0 | 0 | 101.931 | 101.931 | 101.931 | 0 | 1
6 | 2 | 5 | 2.3565 | 6 | 0.00016588 | 0 | 0 | 203.862 | 203.862 | 203.862 | 0 | 1
7 | 8 | 9 | 0.2415 | 0.1755 | 0.00012865 | 0 | 0 | 6.27 | 6.27 | 6.27 | 0 | 1
8 | 9 | 10 | 0.2415 | 0.1755 | 0.00012865 | 0 | 0 | 6.27 | 6.27 | 6.27 | 0 | 1
9 | 10 | 11 | 0.2415 | 0.1755 | 0.00012865 | 0 | 0 | 6.27 | 6.27 | 6.27 | 0 | 1
10 | 11 | 12 | 0.2415 | 0.1755 | 0.00012865 | 0 | 0 | 6.27 | 6.27 | 6.27 | 0 | 1
11 | 13 | 14 | 0.2415 | 0.1755 | 0.00012865 | 0 | 0 | 6.27 | 6.27 | 6.27 | 0 | 1
12 | 14 | 15 | 0.2415 | 0.1755 | 0.00012865 | 0 | 0 | 6.27 | 6.27 | 6.27 | 0 | 1
13 | 8 | 15 | 0.2415 | 0.1755 | 0.00012865 | 0 | 0 | 6.27 | 6.27 | 6.27 | 0 | 1
14 | 16 | 17 | 0.018 | 0.0064 | 6.635e-06 | 0 | 0 | 0.168 | 0.168 | 0.168 | 0 | 1
15 | 17 | 18 | 0.018 | 0.0064 | 6.635e-06 | 0 | 0 | 0.168 | 0.168 | 0.168 | 0 | 1
16 | 18 | 19 | 0.018 | 0.0064 | 6.635e-06 | 0 | 0 | 0.168 | 0.168 | 0.168 | 0 | 1
17 | 19 | 20 | 0.018 | 0.0064 | 6.635e-06 | 0 | 0 | 0.168 | 0.168 | 0.168 | 0 | 1
18 | 20 | 21 | 0.018 | 0.0064 | 6.635e-06 | 0 | 0 | 0.168 | 0.168 | 0.168 | 0 | 1
19 | 16 | 22 | 0.027 | 0.0096 | 9.9526e-06 | 0 | 0 | 0.168 | 0.168 | 0.168 | 0 | 1
20 | 22 | 23 | 0.027 | 0.0096 | 9.9526e-06 | 0 | 0 | 0.168 | 0.168 | 0.168 | 0 | 1
21 | 23 | 24 | 0.22523 | 0.042 | 4.1469e-07 | 0 | 0 | 0.073 | 0.073 | 0.073 | 0 | 1
22 | 24 | 25 | 0.22523 | 0.042 | 4.1469e-07 | 0 | 0 | 0.073 | 0.073 | 0.073 | 0 | 1
23 | 23 | 26 | 0.22523 | 0.042 | 4.1469e-07 | 0 | 0 | 0.073 | 0.073 | 0.073 | 0 | 1
24 | 26 | 27 | 0.22523 | 0.042 | 4.1469e-07 | 0 | 0 | 0.073 | 0.073 | 0.073 | 0 | 1
25 | 5 | 3 | 9.0596 | 24.0635 | 0 | 0 | 0 | 100 | 100 | 100 | 0 | 1
26 | 1 | 2 | 0.0242 | 3.2266 | 0 | 1 | 0 | 300 | 300 | 300 | 1 | 1
27 | 12 | 16 | 0.0053 | 0.015097 | 0 | 1 | 150 | 0.4 | 0.4 | 0.4 | 1 | 1
28 | 5 | 28 | 0 | 12.1895 | 0 | 0 | 0 | 9999 | 9999 | 9999 | 0 | 1
29 | 3 | 29 | 0 | 50.5622 | 0 | 0 | 0 | 9999 | 9999 | 9999 | 0 | 1

## AC Gen Data
Bus_No | AC Gen Type (No Gen : 0/AC Trans : 1/ Syn Gen : 2/IBR : 3) | AC Gen Mode (PQ Mode : 0/Droop Mode : 1/ PV Mode : 2/Slack : 3) Same Bus = Same Gen Mode | Droop (P) [%] | Droop (Q) [%] | P_gen [W] | Q_gen [Var] | Vg [pu] (If Gen PV mode or Droop mode) | Status (미반영) | Local Sbase [MVA] | ¦V¦ deadband (±) [pu]
1 | 2 | 3 | 0 | 0 | 0 | 0 | 1.03 | 1 | 100 | 0.01
6 | 2 | 2 | 0 | 0 | 100000000 | 0 | 1.03 | 1 | 100 | 0.01
2 | 3 | 0 | 0 | 0 | 20000000 | 4000000 | 1 | 1 | 100 | 0.01
14 | 3 | 0 | 0 | 0 | 500000 | 0 | 1 | 1 | 100 | 0.01
8 | 3 | 0 | 0 | 0 | 500000 | 50000 | 1 | 1 | 100 | 0.01
7 | 3 | 0 | 0 | 0 | 15000000 | 3000000 | 1 | 1 | 100 | 0.01
13 | 3 | 0 | 0 | 0 | 2000000 | 100000 | 1 | 1 | 100 | 0.01
17 | 3 | 0 | 0 | 0 | 6000 | 0 | 1 | 1 | 100 | 0.01
19 | 3 | 0 | 0 | 0 | 5000 | 0 | 1 | 1 | 100 | 0.01
24 | 3 | 0 | 0 | 0 | 5000 | 0 | 1 | 1 | 100 | 0.01
25 | 3 | 0 | 0 | 0 | 5000 | 0 | 1 | 1 | 100 | 0.01
26 | 3 | 0 | 0 | 0 | 5000 | 0 | 1 | 1 | 100 | 0.01
27 | 3 | 0 | 0 | 0 | 5000 | 0 | 1 | 1 | 100 | 0.01
28 | 2 | 2 | 0 | 0 | 0 | 0 | 1.0262 | 1 | 100 | 0.01
29 | 2 | 2 | 0 | 0 | 0 | 0 | 1.024 | 1 | 100 | 0.01

## AC 3w Transformer Data
3w trans # | Bus 1 | Bus 2 | Bus 3 | status (0/1) | Vn1 [kV] | Vn2 [kV] | Vn3 [kV] | Sn1 [MVA] | Sn2 [MVA] | Sn3 [MVA] | r12 | r23 | r31 | x12 | x23 | x31 | vk12 [%] | vk23 [%] | vk31 [%] | vkr12 [%] | vkr23 [%] | vkr31 [%] | tap side | tap ratio | shift_deg MV [degree] | shift_deg LV [degree] | pfe [kW] | i0 [%] | winding map
1 | 4 | 7 | 8 | 1 | 110 | 20 | 10 | 40 | 15 | 25 | [6 empty] | 10.1 | 10.1 | 10.1 | 0.26667 | 0.033333 | 0.04 | 1 | 1 | 30 | 30 | 0 | 0 | 0

## DC Bus Data
Bus | Nominal Current | V0 [pu] | V_base [V] | VM min [pu] | VM max [pu]

## DC Line Data
Line # | From | To | R [Ω] | rateA [MVA] | rateB [MVA] | rateC [MVA] | connection status (0/1)

## DC Gen Data
Bus_No | DC Gen Type | DC Gen Mode | Droop (P) [%] | P_gen [W] | Vg [pu] | Status | Local Pbase [MW] | ¦V¦ deadband (±) [pu]

## ACDC IC Data
From(AC) | To(DC) | AC Control Mode | DC Control Mode | Droop P freq_norm | Droop P DC_VM_norm | Droop Q k_q_IC | P Operating Point [W] | Q Operating Point [Var] | rateA [MVA] | Rtf [pu] | Xtf [pu] | Bf [pu] | Rc [pu] | Xc [pu] | Status | LossA | LossB | LossC rec | LossC inv | Vbase [kV]

## MVDC LVDC Converter Data
From (MVDC) | To (LVDC) | C0 | C1 | C2 | Droop MVDC | Droop LVDC | Operating P | P IC Max [W] | Control Mode

## AC P Consume Data
Bus / 시각 | 1
1 | 0
2 | 38000000
3 | 41776000
4 | 38000000
5 | 61942000
6 | 38000000
7 | 18000000
8 | 6000000
9 | 400000
10 | 400000
11 | 400000
12 | 0
13 | 400000
14 | 400000
15 | 400000
16 | 100000
17 | 10000
18 | 10000
19 | 10000
20 | 10000
21 | 10000
22 | 10000
23 | 10000
24 | 10000
25 | 10000
26 | 10000
27 | 10000
28 | 0
29 | 0

## AC Q Consume Data
Bus / 시각 | 1
1 | 0
2 | 6000000
3 | -1769979
4 | 6000000
5 | -6241870
6 | 6000000
7 | 4000000
8 | 2000000
9 | 100000
10 | 60000
11 | 60000
12 | 0
13 | 60000
14 | 60000
15 | 60000
16 | 10000
17 | 30000
18 | 30000
19 | 30000
20 | 30000
21 | 30000
22 | 30000
23 | 30000
24 | 30000
25 | 30000
26 | 30000
27 | 30000
28 | 0
29 | 0

## DC P Consume Data
Bus / 시각 | 1

## Sbase,frequency
S_base [MVA] | freq_base [Hz] | f_0 [pu] | freq_min [pu] | freq_max[pu] | Frequency Control Mode ( 0 : Variable / 1 : Constant ) | freq_deadband(±) [Hz]
100 | 50 | 1 | 0.975 | 1.02 | 1 | 0.036