## Mode
Mode ( 0 : AC / DC Hybrid, 1 : AC only, 2 : DC only )
1

## AC Bus Data
Bus | Gs [MW] | Bs [MVar] | Z_p | I_p | P_p | Z_q | I_q | P_q | k_pw | k_qw | V0 [pu] | Va [°] | V_base [V] | V_min [pu] | V_max [pu] | Area
1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
3 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
4 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
5 | -40 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
6 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
7 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
8 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
9 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
10 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
11 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
12 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
13 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
14 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
15 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
16 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
17 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
18 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
19 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
20 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
21 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
22 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
23 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
24 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
25 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
26 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
27 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
28 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
29 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
30 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
31 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
32 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
33 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
34 | 14 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
35 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
36 | -25 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
37 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
38 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
39 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
40 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
41 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
42 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
43 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
44 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
45 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
46 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
47 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
48 | 15 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
49 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
50 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
51 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
52 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
53 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
54 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
55 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
56 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
57 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
58 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
59 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
60 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
61 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
62 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
63 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
64 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
65 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
66 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
67 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
68 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
69 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
70 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
71 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
72 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
73 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
74 | 12 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
75 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
76 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
77 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
78 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
79 | 20 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
80 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
81 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 345000 | 0.94 | 1.06 | 1
82 | 20 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
83 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
84 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
85 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
86 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
87 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 161000 | 0.94 | 1.06 | 1
88 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
89 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
90 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
91 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
92 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
93 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
94 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
95 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
96 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
97 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
98 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
99 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
100 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
101 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
102 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
103 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
104 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
105 | 20 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
106 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
107 | 0 | 6 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
108 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
109 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
110 | 6 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
111 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
112 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
113 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
114 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
115 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
116 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
117 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1
118 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 138000 | 0.94 | 1.06 | 1

## Sbase,frequency
S_base [VA] | freq_base [Hz] | f_0 [pu] | freq_min [pu] | freq_max[pu] | Frequency Control Mode( 0 : Variable / 1 : Constant ) | freq_DB [Hz]
100 | 60 | 1 | 0.95 | 1.05 | 0 | 0.036

## AC Gen Data
Bus_No | AC Gen Type (No Gen : 0/AC Trans : 1/Syn Gen : 2/IBR : 3) | AC Gen Mode(PQ Mode : 0/Droop Mode : 1/ PV Mode : 2/Slack : 3) | Droop (P) [%] | Droop (Q) [%] | P_gen [W] | Q_gen [Var] | Vg [pu] (If Gen in PV mode or Droop mode) | Status | Local Sbase [MVA] | ¦V¦ Deadband (±) [pu]
1 | 0 | 2 | 0 | 0 | 0 | 0 | 0.955 | 1 | 100000000 | 1e-06
4 | 0 | 2 | 0 | 0 | 0 | 0 | 0.998 | 1 | 100000000 | 1e-06
6 | 0 | 2 | 0 | 0 | 0 | 0 | 0.99 | 1 | 100000000 | 1e-06
8 | 0 | 2 | 0 | 0 | 0 | 0 | 1.015 | 1 | 100000000 | 1e-06
10 | 0 | 2 | 0 | 0 | 450000000 | 0 | 1.05 | 1 | 100000000 | 1e-06
12 | 0 | 2 | 0 | 0 | 85000000 | 0 | 0.99 | 1 | 100000000 | 1e-06
15 | 0 | 2 | 0 | 0 | 0 | 0 | 0.97 | 1 | 100000000 | 1e-06
18 | 0 | 2 | 0 | 0 | 0 | 0 | 0.973 | 1 | 100000000 | 1e-06
19 | 0 | 2 | 0 | 0 | 0 | 0 | 0.962 | 1 | 100000000 | 1e-06
24 | 0 | 2 | 0 | 0 | 0 | 0 | 0.992 | 1 | 100000000 | 1e-06
25 | 0 | 2 | 0 | 0 | 220000000 | 0 | 1.05 | 1 | 100000000 | 1e-06
26 | 0 | 2 | 0 | 0 | 314000000 | 0 | 1.015 | 1 | 100000000 | 1e-06
27 | 0 | 2 | 0 | 0 | 0 | 0 | 0.968 | 1 | 100000000 | 1e-06
31 | 0 | 2 | 0 | 0 | 7000000 | 0 | 0.967 | 1 | 100000000 | 1e-06
32 | 0 | 2 | 0 | 0 | 0 | 0 | 0.963 | 1 | 100000000 | 1e-06
34 | 0 | 2 | 0 | 0 | 0 | 0 | 0.984 | 1 | 100000000 | 1e-06
36 | 0 | 2 | 0 | 0 | 0 | 0 | 0.98 | 1 | 100000000 | 1e-06
40 | 0 | 2 | 0 | 0 | 0 | 0 | 0.97 | 1 | 100000000 | 1e-06
42 | 0 | 2 | 0 | 0 | 0 | 0 | 0.985 | 1 | 100000000 | 1e-06
46 | 0 | 2 | 0 | 0 | 19000000 | 0 | 1.005 | 1 | 100000000 | 1e-06
49 | 0 | 2 | 0 | 0 | 204000000 | 0 | 1.025 | 1 | 100000000 | 1e-06
54 | 0 | 2 | 0 | 0 | 48000000 | 0 | 0.955 | 1 | 100000000 | 1e-06
55 | 0 | 2 | 0 | 0 | 0 | 0 | 0.952 | 1 | 100000000 | 1e-06
56 | 0 | 2 | 0 | 0 | 0 | 0 | 0.954 | 1 | 100000000 | 1e-06
59 | 0 | 2 | 0 | 0 | 155000000 | 0 | 0.985 | 1 | 100000000 | 1e-06
61 | 0 | 2 | 0 | 0 | 160000000 | 0 | 0.995 | 1 | 100000000 | 1e-06
62 | 0 | 2 | 0 | 0 | 0 | 0 | 0.998 | 1 | 100000000 | 1e-06
65 | 0 | 2 | 0 | 0 | 391000000 | 0 | 1.005 | 1 | 100000000 | 1e-06
66 | 0 | 2 | 0 | 0 | 392000000 | 0 | 1.05 | 1 | 100000000 | 1e-06
69 | 0 | 3 | 0 | 0 | 516400000 | 0 | 1.035 | 1 | 100000000 | 1e-06
70 | 0 | 2 | 0 | 0 | 0 | 0 | 0.984 | 1 | 100000000 | 1e-06
72 | 0 | 2 | 0 | 0 | 0 | 0 | 0.98 | 1 | 100000000 | 1e-06
73 | 0 | 2 | 0 | 0 | 0 | 0 | 0.991 | 1 | 100000000 | 1e-06
74 | 0 | 2 | 0 | 0 | 0 | 0 | 0.958 | 1 | 100000000 | 1e-06
76 | 0 | 2 | 0 | 0 | 0 | 0 | 0.943 | 1 | 100000000 | 1e-06
77 | 0 | 2 | 0 | 0 | 0 | 0 | 1.006 | 1 | 100000000 | 1e-06
80 | 0 | 2 | 0 | 0 | 477000000 | 0 | 1.04 | 1 | 100000000 | 1e-06
85 | 0 | 2 | 0 | 0 | 0 | 0 | 0.985 | 1 | 100000000 | 1e-06
87 | 0 | 2 | 0 | 0 | 4000000 | 0 | 1.015 | 1 | 100000000 | 1e-06
89 | 0 | 2 | 0 | 0 | 607000000 | 0 | 1.005 | 1 | 100000000 | 1e-06
90 | 0 | 2 | 0 | 0 | 0 | 0 | 0.985 | 1 | 100000000 | 1e-06
91 | 0 | 2 | 0 | 0 | 0 | 0 | 0.98 | 1 | 100000000 | 1e-06
92 | 0 | 2 | 0 | 0 | 0 | 0 | 0.99 | 1 | 100000000 | 1e-06
99 | 0 | 2 | 0 | 0 | 0 | 0 | 1.01 | 1 | 100000000 | 1e-06
100 | 0 | 2 | 0 | 0 | 252000000 | 0 | 1.017 | 1 | 100000000 | 1e-06
103 | 0 | 2 | 0 | 0 | 40000000 | 0 | 1.01 | 1 | 100000000 | 1e-06
104 | 0 | 2 | 0 | 0 | 0 | 0 | 0.971 | 1 | 100000000 | 1e-06
105 | 0 | 2 | 0 | 0 | 0 | 0 | 0.965 | 1 | 100000000 | 1e-06
107 | 0 | 2 | 0 | 0 | 0 | 0 | 0.952 | 1 | 100000000 | 1e-06
110 | 0 | 2 | 0 | 0 | 0 | 0 | 0.973 | 1 | 100000000 | 1e-06
111 | 0 | 2 | 0 | 0 | 36000000 | 0 | 0.98 | 1 | 100000000 | 1e-06
112 | 0 | 2 | 0 | 0 | 0 | 0 | 0.975 | 1 | 100000000 | 1e-06
113 | 0 | 2 | 0 | 0 | 0 | 0 | 0.993 | 1 | 100000000 | 1e-06
116 | 0 | 2 | 0 | 0 | 0 | 0 | 1.005 | 1 | 100000000 | 1e-06

## AC Line Data
Line # | From | To | R [Ω] | X [Ω] | B [S] | Tap ratio | angle(°) | rateA [MVA] | rateB [MVA] | rateC [MVA] | AC Transforemr status (0/1) | connection status (0/1)
1 | 1 | 2 | 5.7703 | 19.025 | 0.00013338 | 0 | 0 | 0 | 0 | 0 | 0 | 1
2 | 1 | 3 | 2.4567 | 8.0747 | 5.6816e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
3 | 4 | 5 | 0.33517 | 1.5197 | 1.1027e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4 | 3 | 5 | 4.5896 | 20.5675 | 0.00014913 | 0 | 0 | 0 | 0 | 0 | 0 | 1
5 | 5 | 6 | 2.2662 | 10.2838 | 7.4879e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6 | 6 | 7 | 0.87412 | 3.9612 | 2.888e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
7 | 8 | 9 | 2.9042 | 36.3026 | 0.00097627 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8 | 8 | 5 | 0 | 5.0847 | 0 | 0.985 | 0 | 0 | 0 | 0 | 1 | 1
9 | 9 | 10 | 3.0708 | 38.3261 | 0.0010334 | 0 | 0 | 0 | 0 | 0 | 0 | 1
10 | 4 | 11 | 3.9802 | 13.1023 | 9.1787e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
11 | 5 | 11 | 3.8659 | 12.988 | 9.1262e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
12 | 11 | 12 | 1.1331 | 3.7326 | 2.636e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
13 | 2 | 12 | 3.5612 | 11.7311 | 8.2546e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
14 | 3 | 12 | 9.2173 | 30.4704 | 0.00021319 | 0 | 0 | 0 | 0 | 0 | 0 | 1
15 | 7 | 12 | 1.6416 | 6.475 | 4.5894e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
16 | 11 | 13 | 4.2373 | 13.9212 | 9.8509e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
17 | 12 | 14 | 4.0945 | 13.4641 | 9.5358e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
18 | 13 | 15 | 14.1687 | 46.5435 | 0.00032913 | 0 | 0 | 0 | 0 | 0 | 0 | 1
19 | 14 | 15 | 11.3312 | 37.1358 | 0.0002636 | 0 | 0 | 0 | 0 | 0 | 0 | 1
20 | 12 | 16 | 4.0373 | 15.8827 | 0.00011237 | 0 | 0 | 0 | 0 | 0 | 0 | 1
21 | 15 | 17 | 2.5138 | 8.3222 | 0.00023314 | 0 | 0 | 0 | 0 | 0 | 0 | 1
22 | 16 | 17 | 8.646 | 34.2982 | 0.0002447 | 0 | 0 | 0 | 0 | 0 | 0 | 1
23 | 17 | 18 | 2.3424 | 9.6172 | 6.8158e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
24 | 18 | 19 | 2.131 | 9.3887 | 5.9966e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
25 | 19 | 20 | 4.7991 | 22.2815 | 0.00015648 | 0 | 0 | 0 | 0 | 0 | 0 | 1
26 | 15 | 19 | 2.2853 | 7.5033 | 5.3035e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
27 | 20 | 21 | 3.4851 | 16.1684 | 0.00011342 | 0 | 0 | 0 | 0 | 0 | 0 | 1
28 | 21 | 22 | 3.9802 | 18.4727 | 0.00012917 | 0 | 0 | 0 | 0 | 0 | 0 | 1
29 | 22 | 23 | 6.513 | 30.28 | 0.00021214 | 0 | 0 | 0 | 0 | 0 | 0 | 1
30 | 23 | 24 | 2.5709 | 9.3696 | 0.0002615 | 0 | 0 | 0 | 0 | 0 | 0 | 1
31 | 23 | 25 | 2.9709 | 15.2352 | 0.00045369 | 0 | 0 | 0 | 0 | 0 | 0 | 1
32 | 26 | 25 | 0 | 7.2748 | 0 | 0.96 | 0 | 0 | 0 | 0 | 1 | 1
33 | 25 | 27 | 6.056 | 31.0417 | 0.00092628 | 0 | 0 | 0 | 0 | 0 | 0 | 1
34 | 27 | 28 | 3.6431 | 16.2826 | 0.00011342 | 0 | 0 | 0 | 0 | 0 | 0 | 1
35 | 28 | 29 | 4.5134 | 17.9585 | 0.00012497 | 0 | 0 | 0 | 0 | 0 | 0 | 1
36 | 30 | 17 | 0 | 7.3891 | 0 | 0.96 | 0 | 0 | 0 | 0 | 1 | 1
37 | 8 | 30 | 5.13 | 59.9886 | 0.00043184 | 0 | 0 | 0 | 0 | 0 | 0 | 1
38 | 26 | 30 | 9.5101 | 102.3615 | 0.00076286 | 0 | 0 | 0 | 0 | 0 | 0 | 1
39 | 17 | 31 | 9.0269 | 29.7658 | 0.00020951 | 0 | 0 | 0 | 0 | 0 | 0 | 1
40 | 29 | 31 | 2.0568 | 6.3036 | 4.3583e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
41 | 23 | 32 | 6.0369 | 21.9577 | 0.00061594 | 0 | 0 | 0 | 0 | 0 | 0 | 1
42 | 31 | 32 | 5.6751 | 18.7583 | 0.0001318 | 0 | 0 | 0 | 0 | 0 | 0 | 1
43 | 27 | 32 | 4.3611 | 14.3782 | 0.00010113 | 0 | 0 | 0 | 0 | 0 | 0 | 1
44 | 15 | 33 | 7.2367 | 23.6907 | 0.00016772 | 0 | 0 | 0 | 0 | 0 | 0 | 1
45 | 19 | 34 | 14.3211 | 47.0387 | 0.00033186 | 0 | 0 | 0 | 0 | 0 | 0 | 1
46 | 35 | 36 | 0.42659 | 1.9425 | 1.4073e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
47 | 35 | 37 | 2.0948 | 9.4649 | 6.9208e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
48 | 33 | 37 | 7.9033 | 27.0425 | 0.00019219 | 0 | 0 | 0 | 0 | 0 | 0 | 1
49 | 34 | 36 | 1.6587 | 5.1038 | 2.9826e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
50 | 34 | 37 | 0.48753 | 1.7901 | 5.167e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
51 | 38 | 37 | 0 | 7.1415 | 0 | 0.935 | 0 | 0 | 0 | 0 | 1 | 1
52 | 37 | 39 | 6.1131 | 20.1866 | 0.00014178 | 0 | 0 | 0 | 0 | 0 | 0 | 1
53 | 37 | 40 | 11.2931 | 31.9939 | 0.00022054 | 0 | 0 | 0 | 0 | 0 | 0 | 1
54 | 30 | 38 | 5.5228 | 64.2735 | 0.00035455 | 0 | 0 | 0 | 0 | 0 | 0 | 1
55 | 39 | 40 | 3.5041 | 11.5216 | 8.1495e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
56 | 40 | 41 | 2.7614 | 9.2744 | 6.4167e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
57 | 40 | 42 | 10.5694 | 34.8505 | 0.0002447 | 0 | 0 | 0 | 0 | 0 | 0 | 1
58 | 41 | 42 | 7.808 | 25.7094 | 0.00018063 | 0 | 0 | 0 | 0 | 0 | 0 | 1
59 | 43 | 44 | 11.5788 | 46.734 | 0.00031863 | 0 | 0 | 0 | 0 | 0 | 0 | 1
60 | 34 | 43 | 7.8652 | 32.013 | 0.00022191 | 0 | 0 | 0 | 0 | 0 | 0 | 1
61 | 44 | 45 | 4.2659 | 17.1586 | 0.00011762 | 0 | 0 | 0 | 0 | 0 | 0 | 1
62 | 45 | 46 | 7.6176 | 25.8237 | 0.00017433 | 0 | 0 | 0 | 0 | 0 | 0 | 1
63 | 46 | 47 | 7.2367 | 24.1859 | 0.00016593 | 0 | 0 | 0 | 0 | 0 | 0 | 1
64 | 46 | 48 | 11.4454 | 35.9932 | 0.00024785 | 0 | 0 | 0 | 0 | 0 | 0 | 1
65 | 47 | 49 | 3.6374 | 11.9025 | 8.4226e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
66 | 42 | 49 | 13.6165 | 61.5121 | 0.00045159 | 0 | 0 | 0 | 0 | 0 | 0 | 1
67 | 42 | 49 | 13.6165 | 61.5121 | 0.00045159 | 0 | 0 | 0 | 0 | 0 | 0 | 1
68 | 45 | 49 | 13.0261 | 35.4218 | 0.00023314 | 0 | 0 | 0 | 0 | 0 | 0 | 1
69 | 48 | 49 | 3.4089 | 9.6172 | 6.6058e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
70 | 49 | 50 | 5.0847 | 14.3211 | 9.8404e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
71 | 49 | 51 | 9.2554 | 26.0903 | 0.00017958 | 0 | 0 | 0 | 0 | 0 | 0 | 1
72 | 51 | 52 | 3.8659 | 11.1979 | 7.3304e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
73 | 52 | 53 | 7.7128 | 31.1369 | 0.00021309 | 0 | 0 | 0 | 0 | 0 | 0 | 1
74 | 53 | 54 | 5.0086 | 23.2337 | 0.00016278 | 0 | 0 | 0 | 0 | 0 | 0 | 1
75 | 49 | 54 | 13.9021 | 55.0372 | 0.00038752 | 0 | 0 | 0 | 0 | 0 | 0 | 1
76 | 49 | 54 | 16.5492 | 55.418 | 0.00038332 | 0 | 0 | 0 | 0 | 0 | 0 | 1
77 | 54 | 55 | 3.2184 | 13.4641 | 0.00010607 | 0 | 0 | 0 | 0 | 0 | 0 | 1
78 | 54 | 56 | 0.52371 | 1.8187 | 3.8437e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
79 | 55 | 56 | 0.92935 | 2.8756 | 1.9639e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
80 | 56 | 57 | 6.5321 | 18.3965 | 0.00012707 | 0 | 0 | 0 | 0 | 0 | 0 | 1
81 | 50 | 57 | 9.0269 | 25.519 | 0.00017433 | 0 | 0 | 0 | 0 | 0 | 0 | 1
82 | 56 | 58 | 6.5321 | 18.3965 | 0.00012707 | 0 | 0 | 0 | 0 | 0 | 0 | 1
83 | 51 | 58 | 4.8562 | 13.6926 | 9.3888e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
84 | 54 | 59 | 9.5791 | 43.6679 | 0.00031401 | 0 | 0 | 0 | 0 | 0 | 0 | 1
85 | 56 | 59 | 15.7113 | 47.8004 | 0.00029878 | 0 | 0 | 0 | 0 | 0 | 0 | 1
86 | 56 | 59 | 15.2923 | 45.5152 | 0.00028145 | 0 | 0 | 0 | 0 | 0 | 0 | 1
87 | 55 | 59 | 9.025 | 41.097 | 0.00029647 | 0 | 0 | 0 | 0 | 0 | 0 | 1
88 | 59 | 60 | 6.0369 | 27.6138 | 0.00019744 | 0 | 0 | 0 | 0 | 0 | 0 | 1
89 | 59 | 61 | 6.2464 | 28.566 | 0.00020374 | 0 | 0 | 0 | 0 | 0 | 0 | 1
90 | 60 | 61 | 0.50276 | 2.5709 | 7.6455e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
91 | 60 | 62 | 2.3424 | 10.6837 | 7.7085e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
92 | 61 | 62 | 1.5692 | 7.1605 | 5.146e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
93 | 63 | 59 | 0 | 7.351 | 0 | 0.96 | 0 | 0 | 0 | 0 | 1 | 1
94 | 63 | 64 | 2.0472 | 23.805 | 0.00018147 | 0 | 0 | 0 | 0 | 0 | 0 | 1
95 | 64 | 61 | 0 | 5.1038 | 0 | 0.985 | 0 | 0 | 0 | 0 | 1 | 1
96 | 38 | 65 | 10.7242 | 117.3586 | 0.00087881 | 0 | 0 | 0 | 0 | 0 | 0 | 1
97 | 64 | 65 | 3.2018 | 35.9456 | 0.00031926 | 0 | 0 | 0 | 0 | 0 | 0 | 1
98 | 49 | 66 | 3.4279 | 17.5014 | 0.00013022 | 0 | 0 | 0 | 0 | 0 | 0 | 1
99 | 49 | 66 | 3.4279 | 17.5014 | 0.00013022 | 0 | 0 | 0 | 0 | 0 | 0 | 1
100 | 62 | 66 | 9.1792 | 41.5159 | 0.00030351 | 0 | 0 | 0 | 0 | 0 | 0 | 1
101 | 62 | 67 | 4.9134 | 22.2815 | 0.00016278 | 0 | 0 | 0 | 0 | 0 | 0 | 1
102 | 65 | 66 | 0 | 7.0463 | 0 | 0.935 | 0 | 0 | 0 | 0 | 1 | 1
103 | 66 | 67 | 4.2659 | 19.3297 | 0.00014083 | 0 | 0 | 0 | 0 | 0 | 0 | 1
104 | 65 | 68 | 1.6425 | 19.044 | 0.00053602 | 0 | 0 | 0 | 0 | 0 | 0 | 1
105 | 47 | 69 | 16.0731 | 52.9042 | 0.0003724 | 0 | 0 | 0 | 0 | 0 | 0 | 1
106 | 49 | 69 | 18.7583 | 61.7026 | 0.00043478 | 0 | 0 | 0 | 0 | 0 | 0 | 1
107 | 68 | 69 | 0 | 7.0463 | 0 | 0.935 | 0 | 0 | 0 | 0 | 1 | 1
108 | 69 | 70 | 5.7132 | 24.1859 | 0.00064062 | 0 | 0 | 0 | 0 | 0 | 0 | 1
109 | 24 | 70 | 0.42087 | 78.3661 | 0.0005355 | 0 | 0 | 0 | 0 | 0 | 0 | 1
110 | 70 | 71 | 1.6797 | 6.7606 | 4.6104e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
111 | 24 | 72 | 9.2935 | 37.3262 | 0.00025625 | 0 | 0 | 0 | 0 | 0 | 0 | 1
112 | 71 | 72 | 8.4936 | 34.2792 | 0.00023335 | 0 | 0 | 0 | 0 | 0 | 0 | 1
113 | 71 | 73 | 1.6492 | 8.646 | 6.1857e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
114 | 70 | 74 | 7.6366 | 25.1952 | 0.00017685 | 0 | 0 | 0 | 0 | 0 | 0 | 1
115 | 70 | 75 | 8.1508 | 26.852 | 0.00018904 | 0 | 0 | 0 | 0 | 0 | 0 | 1
116 | 69 | 75 | 7.7128 | 23.2337 | 0.00065112 | 0 | 0 | 0 | 0 | 0 | 0 | 1
117 | 74 | 75 | 2.3424 | 7.7319 | 5.4295e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
118 | 76 | 77 | 8.4555 | 28.1851 | 0.00019324 | 0 | 0 | 0 | 0 | 0 | 0 | 1
119 | 69 | 77 | 5.8846 | 19.2344 | 0.00054505 | 0 | 0 | 0 | 0 | 0 | 0 | 1
120 | 75 | 77 | 11.4454 | 38.069 | 0.00026139 | 0 | 0 | 0 | 0 | 0 | 0 | 1
121 | 77 | 78 | 0.71605 | 2.3615 | 6.6373e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
122 | 78 | 79 | 1.0398 | 4.6467 | 3.4026e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
123 | 77 | 80 | 3.2375 | 9.2363 | 0.00024785 | 0 | 0 | 0 | 0 | 0 | 0 | 1
124 | 77 | 80 | 5.5989 | 19.9962 | 0.00011972 | 0 | 0 | 0 | 0 | 0 | 0 | 1
125 | 79 | 80 | 2.9709 | 13.407 | 9.8194e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
126 | 68 | 81 | 2.0829 | 24.043 | 0.00067885 | 0 | 0 | 0 | 0 | 0 | 0 | 1
127 | 81 | 80 | 0 | 7.0463 | 0 | 0.935 | 0 | 0 | 0 | 0 | 1 | 1
128 | 77 | 82 | 5.6751 | 16.2445 | 0.00042922 | 0 | 0 | 0 | 0 | 0 | 0 | 1
129 | 82 | 83 | 2.1329 | 6.9796 | 0.00019933 | 0 | 0 | 0 | 0 | 0 | 0 | 1
130 | 83 | 84 | 11.9025 | 25.1381 | 0.00013548 | 0 | 0 | 0 | 0 | 0 | 0 | 1
131 | 83 | 85 | 8.1889 | 28.1851 | 0.00018273 | 0 | 0 | 0 | 0 | 0 | 0 | 1
132 | 84 | 85 | 5.7513 | 12.2072 | 6.4797e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
133 | 85 | 86 | 6.6654 | 23.4241 | 0.00014493 | 0 | 0 | 0 | 0 | 0 | 0 | 1
134 | 86 | 87 | 5.3856 | 39.4973 | 0.00023367 | 1 | 0 | 0 | 0 | 0 | 1 | 1
135 | 85 | 88 | 3.8088 | 19.4249 | 0.00014493 | 0 | 0 | 0 | 0 | 0 | 0 | 1
136 | 85 | 89 | 4.5515 | 32.9461 | 0.0002468 | 0 | 0 | 0 | 0 | 0 | 0 | 1
137 | 88 | 89 | 2.6471 | 13.5593 | 0.00010155 | 0 | 0 | 0 | 0 | 0 | 0 | 1
138 | 89 | 90 | 9.8648 | 35.8027 | 0.00027725 | 0 | 0 | 0 | 0 | 0 | 0 | 1
139 | 89 | 90 | 4.5325 | 18.9869 | 0.00055661 | 0 | 0 | 0 | 0 | 0 | 0 | 1
140 | 90 | 91 | 4.8372 | 15.9208 | 0.00011237 | 0 | 0 | 0 | 0 | 0 | 0 | 1
141 | 89 | 92 | 1.8854 | 9.6172 | 0.00028775 | 0 | 0 | 0 | 0 | 0 | 0 | 1
142 | 89 | 92 | 7.4843 | 30.1086 | 0.00021739 | 0 | 0 | 0 | 0 | 0 | 0 | 1
143 | 91 | 92 | 7.37 | 24.224 | 0.0001716 | 0 | 0 | 0 | 0 | 0 | 0 | 1
144 | 92 | 93 | 4.9134 | 16.1493 | 0.00011447 | 0 | 0 | 0 | 0 | 0 | 0 | 1
145 | 92 | 94 | 9.1602 | 30.0895 | 0.00021319 | 0 | 0 | 0 | 0 | 0 | 0 | 1
146 | 93 | 94 | 4.2468 | 13.9402 | 9.8509e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
147 | 94 | 95 | 2.5138 | 8.2651 | 5.8286e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
148 | 80 | 96 | 6.7797 | 34.6601 | 0.0002594 | 0 | 0 | 0 | 0 | 0 | 0 | 1
149 | 82 | 96 | 3.0851 | 10.0933 | 0.00028565 | 0 | 0 | 0 | 0 | 0 | 0 | 1
150 | 94 | 96 | 5.1228 | 16.5492 | 0.00012077 | 0 | 0 | 0 | 0 | 0 | 0 | 1
151 | 80 | 97 | 3.4851 | 17.7871 | 0.00013338 | 0 | 0 | 0 | 0 | 0 | 0 | 1
152 | 80 | 98 | 4.5325 | 20.5675 | 0.00015018 | 0 | 0 | 0 | 0 | 0 | 0 | 1
153 | 80 | 99 | 8.646 | 39.2306 | 0.0002867 | 0 | 0 | 0 | 0 | 0 | 0 | 1
154 | 92 | 100 | 12.3405 | 56.1798 | 0.00024785 | 0 | 0 | 0 | 0 | 0 | 0 | 1
155 | 94 | 100 | 3.3898 | 11.0455 | 0.00031716 | 0 | 0 | 0 | 0 | 0 | 0 | 1
156 | 95 | 96 | 3.2565 | 10.4171 | 7.74e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
157 | 96 | 97 | 3.2946 | 16.8539 | 0.00012602 | 0 | 0 | 0 | 0 | 0 | 0 | 1
158 | 98 | 100 | 7.5605 | 34.0888 | 0.00024995 | 0 | 0 | 0 | 0 | 0 | 0 | 1
159 | 99 | 100 | 3.4279 | 15.4828 | 0.00011342 | 0 | 0 | 0 | 0 | 0 | 0 | 1
160 | 100 | 101 | 5.2752 | 24.0335 | 0.00017223 | 0 | 0 | 0 | 0 | 0 | 0 | 1
161 | 92 | 102 | 2.3424 | 10.6456 | 7.6875e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
162 | 101 | 102 | 4.6848 | 21.3293 | 0.00015438 | 0 | 0 | 0 | 0 | 0 | 0 | 1
163 | 100 | 103 | 3.047 | 9.9981 | 0.00028145 | 0 | 0 | 0 | 0 | 0 | 0 | 1
164 | 100 | 104 | 8.5888 | 38.8498 | 0.00028408 | 0 | 0 | 0 | 0 | 0 | 0 | 1
165 | 103 | 104 | 8.8745 | 30.1657 | 0.00021372 | 0 | 0 | 0 | 0 | 0 | 0 | 1
166 | 103 | 105 | 10.1885 | 30.9465 | 0.00021424 | 0 | 0 | 0 | 0 | 0 | 0 | 1
167 | 100 | 106 | 11.5216 | 43.6108 | 0.00032556 | 0 | 0 | 0 | 0 | 0 | 0 | 1
168 | 104 | 105 | 1.893 | 7.1986 | 5.1775e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
169 | 105 | 106 | 2.6662 | 10.4171 | 7.5299e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
170 | 105 | 107 | 10.0933 | 34.8505 | 0.00024785 | 0 | 0 | 0 | 0 | 0 | 0 | 1
171 | 105 | 108 | 4.9705 | 13.3879 | 9.6828e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
172 | 106 | 107 | 10.0933 | 34.8505 | 0.00024785 | 0 | 0 | 0 | 0 | 0 | 0 | 1
173 | 108 | 109 | 1.9996 | 5.4847 | 3.9908e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
174 | 103 | 110 | 7.4386 | 34.5268 | 0.00024207 | 0 | 0 | 0 | 0 | 0 | 0 | 1
175 | 109 | 110 | 5.2942 | 14.5115 | 0.00010607 | 0 | 0 | 0 | 0 | 0 | 0 | 1
176 | 110 | 111 | 4.1897 | 14.3782 | 0.00010502 | 0 | 0 | 0 | 0 | 0 | 0 | 1
177 | 110 | 112 | 4.7039 | 12.1882 | 0.00032556 | 0 | 0 | 0 | 0 | 0 | 0 | 1
178 | 17 | 113 | 1.7387 | 5.7322 | 4.0328e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
179 | 32 | 113 | 11.7121 | 38.6593 | 0.000272 | 0 | 0 | 0 | 0 | 0 | 0 | 1
180 | 32 | 114 | 2.5709 | 11.6549 | 8.5486e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
181 | 27 | 115 | 3.1232 | 14.1116 | 0.00010355 | 0 | 0 | 0 | 0 | 0 | 0 | 1
182 | 114 | 115 | 0.43801 | 1.9806 | 1.4493e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
183 | 68 | 116 | 0.06475 | 0.77128 | 0.00086116 | 1 | 0 | 0 | 0 | 0 | 1 | 1
184 | 12 | 117 | 6.2655 | 26.6616 | 0.00018799 | 0 | 0 | 0 | 0 | 0 | 0 | 1
185 | 75 | 118 | 2.7614 | 9.1602 | 6.2907e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1
186 | 76 | 118 | 3.1232 | 10.3599 | 7.1204e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 1

## AC 3w Transformer Data
3w trans # | Bus1 | Bus2 | Bus3 | status (0/1) | Vn1 [kV] | Vn2 [kV] | Vn3 [kV] | Sn1 [MVA] | Sn2 [MVA] | Sn3 [MVA] | r12 | r23 | r31 | x12 | x23 | x31 | vk12[%] | vk23[%] | vk31[%] | vkr12[%] | vkr23[%] | vkr31[%] | tap side | tap ratio | shift deg MV | shift deg LV | pfe [kW] | io [%] | winding map

## AC P Consume Data
Bus / 시각 | 1
1 | 51000000
2 | 20000000
3 | 39000000
4 | 39000000
5 | 0
6 | 52000000
7 | 19000000
8 | 28000000
9 | 0
10 | 0
11 | 70000000
12 | 47000000
13 | 34000000
14 | 14000000
15 | 90000000
16 | 25000000
17 | 11000000
18 | 60000000
19 | 45000000
20 | 18000000
21 | 14000000
22 | 10000000
23 | 7000000
24 | 13000000
25 | 0
26 | 0
27 | 71000000
28 | 17000000
29 | 24000000
30 | 0
31 | 43000000
32 | 59000000
33 | 23000000
34 | 59000000
35 | 33000000
36 | 31000000
37 | 0
38 | 0
39 | 27000000
40 | 66000000
41 | 37000000
42 | 96000000
43 | 18000000
44 | 16000000
45 | 53000000
46 | 28000000
47 | 34000000
48 | 20000000
49 | 87000000
50 | 17000000
51 | 17000000
52 | 18000000
53 | 23000000
54 | 113000000
55 | 63000000
56 | 84000000
57 | 12000000
58 | 12000000
59 | 277000000
60 | 78000000
61 | 0
62 | 77000000
63 | 0
64 | 0
65 | 0
66 | 39000000
67 | 28000000
68 | 0
69 | 0
70 | 66000000
71 | 0
72 | 12000000
73 | 6000000
74 | 68000000
75 | 47000000
76 | 68000000
77 | 61000000
78 | 71000000
79 | 39000000
80 | 130000000
81 | 0
82 | 54000000
83 | 20000000
84 | 11000000
85 | 24000000
86 | 21000000
87 | 0
88 | 48000000
89 | 0
90 | 163000000
91 | 10000000
92 | 65000000
93 | 12000000
94 | 30000000
95 | 42000000
96 | 38000000
97 | 15000000
98 | 34000000
99 | 42000000
100 | 37000000
101 | 22000000
102 | 5000000
103 | 23000000
104 | 38000000
105 | 31000000
106 | 43000000
107 | 50000000
108 | 2000000
109 | 8000000
110 | 39000000
111 | 0
112 | 68000000
113 | 6000000
114 | 8000000
115 | 22000000
116 | 184000000
117 | 20000000
118 | 33000000

## AC Q Consume Data
Bus / 시각 | 1
1 | 27000000
2 | 9000000
3 | 10000000
4 | 12000000
5 | 0
6 | 22000000
7 | 2000000
8 | 0
9 | 0
10 | 0
11 | 23000000
12 | 10000000
13 | 16000000
14 | 1000000
15 | 30000000
16 | 10000000
17 | 3000000
18 | 34000000
19 | 25000000
20 | 3000000
21 | 8000000
22 | 5000000
23 | 3000000
24 | 0
25 | 0
26 | 0
27 | 13000000
28 | 7000000
29 | 4000000
30 | 0
31 | 27000000
32 | 23000000
33 | 9000000
34 | 26000000
35 | 9000000
36 | 17000000
37 | 0
38 | 0
39 | 11000000
40 | 23000000
41 | 10000000
42 | 23000000
43 | 7000000
44 | 8000000
45 | 22000000
46 | 10000000
47 | 0
48 | 11000000
49 | 30000000
50 | 4000000
51 | 8000000
52 | 5000000
53 | 11000000
54 | 32000000
55 | 22000000
56 | 18000000
57 | 3000000
58 | 3000000
59 | 113000000
60 | 3000000
61 | 0
62 | 14000000
63 | 0
64 | 0
65 | 0
66 | 18000000
67 | 7000000
68 | 0
69 | 0
70 | 20000000
71 | 0
72 | 0
73 | 0
74 | 27000000
75 | 11000000
76 | 36000000
77 | 28000000
78 | 26000000
79 | 32000000
80 | 26000000
81 | 0
82 | 27000000
83 | 10000000
84 | 7000000
85 | 15000000
86 | 10000000
87 | 0
88 | 10000000
89 | 0
90 | 42000000
91 | 0
92 | 10000000
93 | 7000000
94 | 16000000
95 | 31000000
96 | 15000000
97 | 9000000
98 | 8000000
99 | 0
100 | 18000000
101 | 15000000
102 | 3000000
103 | 16000000
104 | 25000000
105 | 26000000
106 | 16000000
107 | 12000000
108 | 1000000
109 | 3000000
110 | 30000000
111 | 0
112 | 13000000
113 | 0
114 | 3000000
115 | 7000000
116 | 0
117 | 8000000
118 | 15000000